## Sheet1
Column1 | نام محصول
Calcium Standard Solution
FUSE QUARTZ CONNECTION PIPE
7725i Manual injector
10VS-530ID Silica Tubing
SSC-E1E-005
INLET TUBING ASSY,SEMI-MICRO
FLOW SENSOR,212465
Maintenance kit for LC-20AD/B
BIOMED DX61
Oil Bath OSB-2100CE
Soft Incubator SLI-400
Microscope with standard accessories B-600POL
Drying rack
SPRING
Capillary dispenser, without capillary pipettes
CHART 200-91512
PCBA MAIN TOC-V
LCS USB SINGLE-LC EN
HIGH-TEMP BURNER HEAD/AA-6200
Oil for Vacuum pump, SMR-100, 1L
Stirring bar φ8 x 30L 5 pcs
THERMAL PAPER 3/PCT
Ejection needle (screw type) for neutral anodized capillary dispenser
SUS COLUMN ADAPTER 1/4 74
COLUMN GASKET, SI, ... 50/PKT SILICON RUBBER GASKET FOR SUS COLUMN
Dispenser magazine for 2 ul capillary pipettes without capillaries
JOINT COLUMN
FERRULE SET(0.8) 10/PCT
NUT,CAPILLARY COLUMN
4PCS
WASHER CERAMIC
PPWINDOW,FPC
TUBE
GLASS INSERT SPLIT
FERRULE SET(0.5) 10/PCT
Optical Window Standard Cell
HEAD HOLDER
PLATFORM TUBE
Joint clip Ts29 metal
MGL-0096 Microplate x 96
SAMPLING TUBE ASSY
SENSOR ASSY, FUEL
MESH FILTER ASSY, UV2501
O-RING 4D P35
SILICA GEL 60 PF, 1 KG, 254+366
(1.5 ml Reagent Vial (3 pcs/set
HPTLC CAMAG
Stirring bar φ8 x 30L 5 pcs
OIL BATH TERMO CONTROLLER OHB-1000
Sample Flask TS29
STAINLESS BATH OHB-SB1
STAINLESS BATH OHB-SB2
MGB-1240 od 12mm test tube x 40
MGB-0548 0.5mL microtube x 48
MGL-0296 0.2mL microtube x 96
MG-1524 od 15mm test tube x 24
(Nozzle set, White (3 pair
Vacuum Seal, Main & Sub. for NE, 2 pc
NEBULIZER ASSY, AA6200
DISPERSER/AA
WILAMP YT55134D
BURNER HEADE - AA670/680
COUPLER 25SH
LIGHT SOURCE,FTIR-83/84/87/89
CABLE 171822-PCN6-10
Automatic rinsing kit for LC-20AD/20ADSP
Relief Valv
PHENANTHRENE
Syringe Needle
NANO APPLICATOR
HAMILTON SYRING MICROLITER 0.5
Changeable Needle with Elastic Titanium Plunger
CELL PLATE, KBR 2/SET /IR FOR DEMOUNTABLE CELL
SODIUM CARBONATE,25G
SUS316L 1.6X0.3X200
TUBE 9003-6.0X7.0-WH
D18 x L105 Vial for Rack No. 2A 20 ml, 100 pcs/set
BOC EDWARDS-VACUUM PRODUCTS 100V
BOC EDWARDS-VACUUM PRODUCTS 220/240V
Plunger seal 42455
SPACER,PLUNGRE SEAL 5/PKT
OUTLET CHECK VALVE
GRAPHITE HOLDER/GFA-EX7
COOLING BLOCK ASSY,LEFT /GFA-4
INSERT AOC SPL-14
GLASS INSERT SPL-17 SPLIT
GLASS INSERT,SPL-17 SPLITLESS
FERRULE SET(0.5) 10/PCT
GLASS INSERT SPL-17 SPLITLESS
FILTER P FPD
GLASS INSERT 01 SPL-14
GLASS INSERT GROB
GLASS INSERT SPLIT
FILTER S FPD
NUT
MZ30-23
INSULATION SLEEVE/INJ UNIT
TCD ADAPTOR
3-WAY SPLIT TUBING M-TYPE
NUTWITH SLIT M5
GLASS COLUMN JOINT SET
CAP SET M 2/PKT
SPLIT TUBING G-TYPE 3-WAY
INPUT CORD C-R3A
S PAN SUPPORTER CAP BX UX
L PAN SUPPORTER CAP BX UX
SIGNAL CORD ITG/GC-9A
JOINT F FQ COLUMN
SUS COLUMN 3.5M
SI HALLOW CATHODE LAMP VARIAN TECHTRON
COMBUSTION WRAP/CA
BALANCES ADAPTOR
Shaft with screw
BUFFER PH METER
Teflon Solenoid Valve CV-1
Deionizer Cartridge IE-1
SI HALLOW CATHODE LAMP VARIAN TECHTRON
کارتریج آب مقطرگیری SF-3
Membrane filter for SA-2100E/E1
Condenser N-1000V
O-RING 4D
Metal Aspirator Screw
ASSY CV-4 3/PCT
GASKET 01 2PC
O-RING 1A G75
PLUNGER HOLDER ASSY
O-RING AS568A-149 1A
3meter vacuum hose silicon for freeze dryer
PLUNGER CO-SA ASSY DB
GHRC-ODS 4 mm x 1 cm
ALED LIQUID CELL KBR /IR
Shim-pack ISC-30/S0504 Na
Amino-Na 6.0 mm x 10 cm
PLUNGER HOLDER ASSY
DIAPHRAGM 10/PKT
KIT FOR RP2
SEAL X25231 5/PKT
TUBE SUS 316
Manual injector
HOLMINUM FILTER STANDARD /UV
SUS COLUMN ADAPTER 1/4 64
Shim-Pack CLC-TMS(M) 4.6 mm x 15 cm
MAINTENANCE PROGRAM PACK
Z-CABLE FOR REPAIR
FERRULE 1.6F
CV IN-SPB-T1.5 20AT
CHECK VALVE OUT ASSY
CHECK VALVE OUT 07 ASSY
MALE NUT PEEK
MALE NUT
TEFLON DIAPHRAGM (2PCS)
Vacuum controller NVC-2100
O-RING PTFE P6
O-RING 4D-S25
LabSolutions LC Workstation Ver.5.32 Single LC
MS-G10 10 ul Fixed Needle with Guide
agilent manual syringe color speaks volumes 25µl
702SNR (25 ul) Syringe
HAMAMATSU Silicon Si(L233-14NU)
Active carbon cartridge for SA-2100E/E1
Teflon Solenoid Valve CV-1
needles S-040
Clamp set for PSL-1400/1800
Capillary Feed Tube for N-1000S/V/T
SCHOT N2042A
BLACK
Vacuum hose
Joint clip Ts29 (2 pcs)
Silicone ID1.15xOD3.2(mm) 5m/pce
PHOTOMUL,R787
FLANGELESS FITTING
Suction Filter(SUS)
Adapter 22 x 17
titanium frit
TLC plate box stainless steel
CHECK VALVE IN ASSY GC-5A
Dispenser magazine shelf pack for 2 ul
Disposable capillary pipettes 5 ul
LAMP HALOGEN 50W
OSRAM HALOGEN 20W
THERMAL HEAD
SEAL CAP 10PCS
CHECK VALVE IN
RECORDING PAPER
CELL PLATE KBR
O-RING 4D P22.4 5/PKT
O-RING 4D P16X5
O-RING 4D P22.4 5/PKT
O-RING 4D P35 5/PKT
O-RING AS568A-116 4D
THERMAL PAPER 20002T 10/PCT
4-WAY COCK
AUX FLOW CONT
AGING TUBE COLUMN
SHIMADZU COLUMN MATERIAL
PARALLEL GUIDE LOW
PROGRAM PACK KINETICS
PROGRAM PACK MULTI WAVE
PROGRAM PACK TIME COURSE
PROGRAM PACK KINETICS
PROGRAM PACK PHOTO METRIC 2
Shim-pack XR-SIL 3 mm i.d. X 100 mm
STANDARD BENZOIC ACID
HRC-ODS 4.6 mm x 25 cm
Shim-pack XR-ODSII 2.0 mm i.d.×150 mm
20 ML BOTTLE ᴓ26.5 WITH GREEN CAP( 50 PCS)
Shim-pack XR-ODSII 3.0 mm i.d.×150 mm
SHIM-PACK IC-C1
Dispenser magazine shelf pack for 2 ul
BOARD ASSY SW
SWITCH BOARD ASSY
LCD ASSY
Fixed gate 300/500 u 20 cm
Dispenser magazine for 2 ul capillary pipettes without capillaries
KBR CRYSTAL(100g)
SIEVE 200/IR
HOME DETECTION ASSY
HOLDER HG
CASE FOR TEST TUBE /UV-240
SILICA-GEL CONTAINER /UV-240
MZ30-21
COMBUSTION TUBE
SUS COLUMN PREP.6 X 7MM X 1.5M
Light tube short-wave UV
Needle for spray-on application for ATS4
(Spare) piston for 25 uL syringe ATS4
Light tube long-wave UV
Service kit for TLC sprayer 022.6530
Disposable glass capillaries 2.0 ul 022.7727 shelf pack of 10 vials
Mercury vapor lamp for TLC Scanner 3/4
Tygon
HAMAMATSU Lanthanum La (L2433-57NB )
HAMAMATSU Magnesium Mg(L233-12NU)
SCHOT N52A
SCHOT N42A
SCHOT N2041A
SCHOT N7137A
ASSY ISA SCSI-1 GCMS BOARD
COLOR
PHARMED
CPU UNIT ASSY,GC2010
AL HALLOW CATHODE LAMP, VARIAN TECHTRON
2 pc for AX 200 balance
Ring spring
Nozzle set Blue
Ball joint clip S35
THERMAL HEAD
Cap screw
COUPLER 35SH
COOLING BLOCK ASSY
FUSE DM130V
CHAMBER ASSY
PRINTER CABLE KPU-PS2K
Fixed Needle
NEEDLE ADAPTOR,MN
Tungsten-halogen lamp for TLC Scanner 3/4
Deuterium lamp
Test dye mixture
Compressed air connector
CO2 ABSORBER
CELL UNIT,SEMI-MICRO
CERAMIC FIBER
TC CATALYST,TOC-V
COOLING COIL STD ASSY
FEP TUBE 3*1.5
OXGEN TRAP